## Sheet1
| instrument | location | 400Hz 3Ø | 400Hz 1Ø | 60 Hz | 28VDC | 28VDC WOW | power drop
Sta FD | LTI | FD | 0 | 0 | 0 | 1.2 | 0 | LTI
| WLOPC | B3cab | 0 | 3.5 | 1 | 0 | 0 | WLOPC
| CCN | Sta 2 front face | 0 | 5 | 0 | 0 | 0 | CCN
total |  |  | 0 | 8.5 | 1 | 1.2 | 0
Sta 2 | CRD-PAS | Sta 2 | 0 | 10 | 10 | 0 | 0 | Sta 2
total |  |  | 0 | 10 | 10 | 0 | 0
Sta 3 | AMS | Sta 3 | 0 | 3.7 | 5.1 | 0.2 | 0 | Sta 3
| PILS | Sta 3 | 0 | 0 | 4.9 | 0.95 | 0 | Sta 3
| SP2 | Sta 3 | 0 | 0 | 5 | 0 | 0 | Sta 3
total |  |  | 0 | 3.7 | 15 | 1.15 | 0
Sta 4 | PANS | Sta 4 | 5 | 12.7 | 0 | 0.5 | 0 | Sta 4 and Sta 4 3Ø
total |  |  | 5 | 12.7 | 0 | 0.5 | 0
Sta 5 | SO2 | Sta 5 | 0 | 6 | 0 | 0 | 0.1 | Sta 5
| CO2, CH4 | Sta 5 | 0 | 0 | 5 | 4 | 0 | Sta 5
| j-heads | Sta 5 | 0 | 0 | 2 | 0 | 0 | Sta 5
total |  |  | 0 | 6 | 7 | 4 | 0.1
Sta 6 | acid CIMS | Sta 6a | 0 | 7 | 7 | 0 | 0 | Sta 6
| ACES | Sta 6b | 0 | 15 | 0 | 0 | 0 | Sta 6
total |  |  | 0 | 22 | 7 | 0 | 0
Sta 7 | NH3 | Sta 7 | 0 | 11.3 | 0 | 0 | 0 | Sta 7
| HNO3 | Sta 7 | 0 | 11.35 | 0 | 0 | 0 | Sta 7
| LIPF | LIPF and Sta 7 | 20 | 0 | 0 | 2 | 0 | LIPF
total |  |  | 20 | 22.65 | 0 | 2 | 0
Sta 8 | PTRMS | Sta 8 | 0 | 11 | 0 | 0 | 0.1 | Sta 8
| ISAF | Sta 8 | 0 | 5 | 0 | 0 | 0 | Sta 8
total |  |  | 0 | 16 | 0 | 0 | 0.1
Sta C3X | NOy-O3 | Sta C3X | 9 | 22.6 | 0 | 1 | 0 | Sta C3X and Sta C3X 3Ø
| pod control |  | 0 | 0 | 0 | 0.2 | 0 | Sta C3X
Total |  |  | 9 | 22.6 | 0 | 1.2 | 0
Sta Dual Pass | ARNOLD | Sta Dual Pass | 0 | 9 | 0 | 0 | 0 | Sta Dual Pass
total |  |  | 0 | 9 | 0 | 0
AMPS pod | iWAS2 | Sta 15 | 6 | 0 | 0 | 7 | 0 | AMPS pod wiring
| NMASS | Sta 15 | 0 | 0 | 0 | 15 | 0 | AMPS pod wiring
total |  |  | 6 | 0 | 0 | 22 | 0
CO pod | CO | Sta. 12/L.W.S. 83 | 0 | 10 | 0 | 0 | 0.1 | CO pod wiring
total |  |  | 0 | 10 | 0 | 0 | 0.1
J-cab/Galley | FliSci laptop | Galley | 0 | 0.5 | 0 | 0 | 0 | Galley
total |  |  | 0 | 0.5 | 0 | 0 | 0
DMT Probes | Cloudprobes | Sta 11 | 0 | 24 | 0 | 0 | 0 | Cloud probe wiring
total |  |  | 0 | 24 | 0 | 0 | 0
|  |  | 400Hz 3Ø | 400Hz 1Ø | 60 Hz | 28VDC | 28VDC WOW
Science power |  | all stations | 40 | 167.65 | 40 | 32.05 | 0.3
|  |  | note: | peak Values