## Slide 1
University of California, Los Angeles
Nocturnal Vertical Gradients of O3, NO2, NO3, HONO, HCHO, and SO2 during CalNex 2010
Tsai Catalina, Kam Weng Wong, Olga Pikelnaya, Steven C. Hurlock, Ross Cheung, Christine Haman, Barry Lefer, and Jochen Stutz

## Slide 2: Motivation
To better understand the chemical and mixing processes that influence atmospheric composition at night.
To determine the removal of NOx from the nocturnal boundary layer by NO3 chemistry.
To study the formation of HONO and its impact on OH.
To examine how nocturnal chemistry affects the initial condition for ozone formation during the day.

## Slide 3: Nocturnal Chemistry
NO3
O3
N2O5
HONO
HC
NO2
NO
O3
NO3
O3
N2O5
NO2
Stable Nocturnal
Boundary Layer
Residual Layer
Capping Inversion
NO2
NO
O3
OH + NO
Nocturnal Chemistry in the Polluted BL

## Slide 4
Chart: Detection Limits
| O3 [ppb] | NO2 [ppb] | HONO [ppb] | HCHO [ppb] | SO2 [ppb] | NO3 [ppt]
Average | 1.825 | 0.1175 | 0.04375 | 0.3225 | 0.0525 | 2.2
Best | 0.475 | 0.0225 | 0.00855 | 0.0925 | 0.01875 | 0.54364
CalNex LP-DOAS Set Up
(Google map)
(LP-DOAS)
May 15 2010 – June 16 2010
Los Angeles Supersite: Caltech

## Slide 5
Trace Gas Profile Retrieval
33m
78m
556m
(255-556m) 301m
(121-255m) 134m
(78-121m) 43m
(33-78m) 45m
5.4 km
5.6 km
6.3 km
7.0 km
Highest Interval
Upper Interval
Middle Interval
Lowest Interval
Measured Path Averaged Concentrations
Retrieved Height Interval Concentrations (subtracting scale from the ground upwards)
255m
121m
10m
78m

## Slide 6
Trace Gases Vertical Profiles

## Slide 7
Trace Gases Vertical Profiles
May 29– 30, 2010
2000
1500
1000
500
0
20:00
02:00
08:00
2
2.5
3
3.5
4
Los Angeles log10 of backscatter in 10-9 m-1 sr-1
Height in m, 240 m mean tilted by 20
Time 1200 s mean
Stable Nocturnal Boundary Layer.
Profiles are driven by titration of O3 by NO.
O3 + NO → NO2 + O2

## Slide 8
Nocturnal Vertical Gradient
May 29 – 30, 2010

## Slide 9
NO3 Chemistry
May 26 – 27, 2010
NO3 production rate:
τNO3(PSS) = (K1(T) •[NO2] •[O3])
[NO3]
P(NO3) = K1(T) •[NO2] •[O3]
K1 = 1.43x10-13*e-2470/T
Mixing ratio of N2O5
NO3 + NO2 + M ↔ N2O5 + M
K = 5.58x10-27*e10724/T

## Slide 10
NO3 Chemistry

## Slide 11
NOx loss in the NBL
(Stutz et al., 2010)
Reactions of NO3 radical:
NO3 + NO → 2 NO2 zero NOx loss
NO3 + HC → organic nitrates → → SOA 1 NOx loss
NO3 → → aerosol uptake 1 NOx loss
NO3 + NO2 ↔ N2O5 →aerosol uptake 2 NOx loss
Overall loss frequency of NO3 radical :
fNO3(tot) = fNO3(NO) + fNO3(HC) + fNO3(aer) + fNO3(N2O5)

## Slide 12
RCAT8.2 1-D radical chemistry and transport model
Gas-phase Regional Atmospheric
Chemistry Mechanism (RACM) :
- 84 reactive species
- 249 gas-phase chemical reactions
27 boxes from 0-3 km (log scale below 1 m).
Biogenic and anthropogenic emissions .
Deposition and chemistry on ground and
aerosol.
May 27 – 28, 2010

## Slide 13
Preliminary NO3 Loss Rate
(HC data provided by NOAA)
fNO3(tot) = fNO3(NO) + fNO3(HC) + fNO3(aer) + fNO3(N2O5)
(Observations scaled with vertical profiles)

## Slide 14
Preliminary NOx Loss
NOx Loss Rate

## Slide 15
Nocturnal vertical gradients of trace gases were observed during CalNex.
Ozone and NO2 showed typical diurnal variation found in polluted areas: small ozone and large NO2 mixing ratios at night and the opposite during the day.
Nocturnal NO3 and N2O5 mixing ratios were elevated during the experiment, indicating an active radical chemistry in the nocturnal boundary layer during CalNex -Los Angeles
Assuming that NO3 is predominantly lost through N2O5 uptake we found ~ 1ppb/hr nocturnal NOx loss averaged over the lowest 500 m of the atmosphere (Houston ~1ppb/hr).
Conclusion

## Slide 16
OUTLOOK
Vertical profiles of HCHO and HONO will be investigated.
Further analysis using the 1D model will be performed to analyze NO3 ,HCHO, HONO and ClNO2.

## Slide 17
Acknowledgement
Caltech
California Air Resources Board