## Summary
Item | Total Cost of System | Details
Tower_guywire | 3164.94 | Not required for locations with a permanent user-supplied tower
Stack | 3010
Rack_system (general) | 2310
AOS_rack_instruments | 6450
Pump Box | 4264
CN Box | 1680
Impactor Box | 8755
Spares | 829
Consumables | 799.52
Labor |  | To put the aerosol system together, test, and calibrate
Totals | 28097.52 | Total cost of basic aerosol system excluding tower and guy system

## Notes
Notes:
Prices are current as of January 2009, unless otherwise noted.
The prices do not reflect NOAA labor.

## Tower_guywire
Item | Vendor | Catalog # or Part # | Telephone# | Web Page | Recent Price | Number supplied with system | Cost | Notes
Tower
Tower | Universal Towers |  | 586-463-2560 | http://www.universaltowers.com | 1200 | 1 | 1200 | Tower: $450, Base: $100, Powder coating: $300-$500, Shipping: $200
Guy System
Guy wire, 316 stainless steel, 3/16" diam., 350 ft. | McMaster-Carr | 8908T16 | 630-833-0300 | http://www.mcmaster.com | 3.52 | 350 | 1232 | Breaking strength: 4000 lbs.
Crimp sleeves, pkg. of 10 | McMaster-Carr | 3883T45 | 630-833-0300 | http://www.mcmaster.com | 10.46 | 2 | 20.92
Grade 50 Type 316 stainless steel sling hooks w/latches | McMaster-Carr | 33795T82 | 630-833-0300 | http://www.mcmaster.com | 31.29 | 12 | 375.48 | Work Load Limit: 4300 lbs.
Wire rope thimble, stainless | McMaster-Carr | 3868T24 | 630-833-0300 | http://www.mcmaster.com | 1.99 | 12 | 23.88
1/2"-13 cast stainless steel turnbuckles, jaw/jaw | McMaster-Carr | 3000T55 | 630-833-0300 | http://www.mcmaster.com | 27.11 | 6 | 162.66 | Work Load Limit: 2200 lbs.
Crimper tool | U.S. Rigging | P-21-205HC | 800-624-1116 | http://www.usrigging.com | 150 | 1 | 150
[6 empty] | Total | 3164.94

## Stack
Item | Vendor | Catalog # or Part # | Telephone# | Web Page | Recent Price | Number supplied with system | Cost | Notes
Stack
Unistrut (all pieces) | Component Specialties | multiple | 303-341-0160 | http://www.componentspecialties.com | 350 | 1 | 350
Stack PVC (all pieces) |  |  |  |  | 350 | 1 | 350
Stack rain hat (40-quart stainless steel stock pot w/lid), includes hardware | Centex Supply |  | 303-442-8477 800-660-4351 | http://www.centexsupply.com | 200 | 1 | 200
Stack zero filter | VWR International, Inc. | Gelman Part# 12144, VWR Part# 28145-145 |  | http://www.vwrsp.com | 125 | 1 | 125 | Gelman hepa filter ($57) plus adapter. Adapter fitting machined at NOAA shop.
Stack Heater
Stack heater assembly (includes 8' long 2"diameter stainless steel tube, PVC tube and fittings, two 300W silicone heating tapes, thermal cutout switch, insulation, power cord) | NOAA/CMDL |  | 303-497-6210 | http://www.cmdl.noaa.gov | 375 | 1 | 375 | $79 x 2 for heating tape; $135 for 316 SS 2" O.D., 1.875"I.D., 8' long tube; $15 for thermal cutout switch
Temp/RH sensor w/ 3m cable, includes connector | Vaisala, Inc. | HMP50YAC1A1A | 781-933-4500 | http://www.vaisala.com | 310 | 1 | 310
Flow Splitter
Flow splitter (purchased from NOAA/PMEL instrument shop) | NOAA/PMEL Instrument Shop |  | 303-497-6210 (J. Ogren) |  | 1300 | 1 | 1300
[6 empty] | Total | 3010

## Rack_system (general)
Item | Vendor | Catalog # or Part # | Telephone# | Web Page | Recent Price | Number supplied with system | Cost | Details
UPS | Intelligent Decisions | FC010BB2A0A0A0A | 703-803-8070 | http://www.intelligent.net | 980 | 1 | 980
Stainless steel welded flow splitters | welding shop |  |  |  | 100 | 1 | 100
Tubing (includes stainless steel, conductive silicone black tubing, tygon, and polyethylene vacuum tubing) | misc. vendors |  |  |  | 300 | 1 | 300
Rack structure | Starcase | misc. | 800-822-STAR | http://www.starcase.com |  |  | 500
Rack hardware, slides, drawers, shelf brackets | misc. vendors | misc. |  |  |  |  | 300
12-port rackmount power strips | Tripp-Lite | RS-1215-RA |  | http://www.tripplite.com | 65 | 2 | 130
[6 empty] | Total | 2310

## AOS_rack_instruments
Item | Vendor | Catalog # or Part # | Serial Number | Telephone# | Web Page | Recent Price | Number supplied with system | Cost | Notes
Nephelometer | TSI, Inc. | Model 3563 | 1083 | 651-483-0900 | http://www.tsi.com | 48400 | 1 | 48400 | 2005 price
PSAP, 3-wavelength | Radiance Research, Inc. | Model PSAP | 20 |  |  | 8000 | 1 | 8000 | 2005 price
Condensation Nucleus Counter CNC) | TSI, Inc. | Model 3010-S | 2438 | 651-483-0900 | http://www.tsi.com | 18500 | 1 | 18500 | 2005 price
PID Controller Box | NOAA/CMDL |  |  | 303-497-6210 | http://www.cmdl.noaa.gov/aero/ | 2500 | 1 | 2500 | Internal components: $2000; Enclosure box materials: $130; Box machining: $370 (NIST shop)
UMAC A/D Box | NOAA/CMDL |  |  | 303-497-6210 | http://www.cmdl.noaa.gov/aero/ | 3000 | 1 | 3000 | Internal components: $2500; Enclosure box materials: $130; Box machining: $370 (NIST shop)
Laptop | IBM | Thinkpad T20 | 78-B5790 |  | http://www.ibm.com | 400 | 1 | 400
16-port USB Serial Box | Edgeport | 301-1000-10 |  |  |  | 550 | 1 | 550
[5 empty] | Total | 6450 | Cost of supplied items | 6450

## Pump Box
Item | Vendor | Catalog # or Part # | Telephone# | Web Page | Recent Price | Number supplied with system | Cost
Marine dock box | Nautical Outfitters |  |  | http://www.nautical-outfitters.com | 430 | 1 | 430
Fan | West Marine |  |  | http://www.westmarine.com | 200 | 1 | 200
Vents | West Marine |  |  | http://www.westmarine.com | 12 | 3 | 36
Misc. structural support items | [6 empty] | 200 | Unistrut, plywood, brackets, hardware, etc.
Gast carbon vane pump | Fiero Fluid Power | Model #0823-V103-G608X | 800-638-0920 |  | 685 | 1 | 685
Gast double-headed diaphragm pump | Fiero Fluid Power | Model DAA-V505-GB | 800-638-0920 |  | 450 | 0 | 0 | Do not include in basic system cost
Ametek blower | Allied Electronics | Model #116636-03 |  |  | 525 | 2 | 1050
Thermostat, cooling | Hammond Mfg. | Type SKT011419NO, Model #01141.9-00, 30-140 deg F, normally open |  |  | 30 | 1 | 30
Magnehelic delta-P gauge | Dwyer | Model 2000-0 |  | http://www.dwyer-inst.com | 65 | 1 | 65
Pitot tube assembly | Dwyer | Pitot tube: #167-6-CF |  | http://www.dwyer-inst.com | 60 | 1 | 60
Pressure transmitter | Dwyer | part #604A-0 |  | http://www.dwyer-inst.com | 186 | 1 | 186
Rotameter (0-50 lpm, top valve) | Dwyer | model #RMA-23-TMV |  | http://www.dwyer-inst.com | 49 | 4 | 196
Vacuum Gauge | Grainger | 1X547 |  | http://www.grainger.com | 13 | 2 | 26
Temp/RH sensor w/ 0.3m cable, includes connector | Vaisala, Inc. | HMP50YAB1A1A | 781-933-4500 | http://www.vaisala.com | 300 | 1 | 300
Misc. tubing and cables | [6 empty] | 100
Time delay relays and enclosure box | [6 empty] | 150
Swagelok fittings (stainless steel bulkheads, SS bulkhead restraints, brass interior fittings | Denver Valve & Fitting |  | 303-232-8844 | http://www.swagelok.com |  |  | 500
Vacuum cleaner hose, 20 ft., includes section between stack excess branch and pumpbox | [6 empty] | 50
[6 empty] | Total | 4264

## CN Box
Item | Vendor | Catalog # or Part # | Telephone# | Web Page | Recent Price | Number supplied with system | Cost | Details
Box hardware (front panel blank, drawer, handles, vacuum manifold) | Misc. vendors | [5 empty] | 250 | Vacuum manifold and flowmeter brackets made by NOAA shop
Swagelok fittings | Denver Valve & Fitting | Misc. | 303-232-8844 | http://www.swagelok.com |  |  | 225
PermaPure drier | PermaPure, Inc. | MD-110-12S-4 | 732-244-0010 | http://www.permapure.com | 360.5 | 1 | 360.5
0-10 lpm rotameter | Dwyer | VFA-24-SS | 219-879-8000 | http://www.dwyer-inst.com | 37.5 | 1 | 37.5
0-4 lpm rotameters | Dwyer | VFB-65-SS | 219-879-8000 | http://www.dwyer-inst.com | 49 | 1 | 49
Tubing (estimate) | Many vendors | [5 empty] | 25
Vacuum gauge | Grainger | 1X547 | 888-361-8649 | http://www.grainger.com | 13 | 1 | 13
Parker filter | Webster Associates, Inc. | IDN-4G X 10 (10 filter pack) | 800-627-4875 | http://www.filternetwork.com | 10 | 2 | 20
Mass flow meters | TSI, Inc. | 41211 |  | http://www.tsi.com | 350 | 2 | 700
[6 empty] | Total | 1680
[9 empty] | Total | 2600

## Impactor Box
Item | Vendor | Catalog # or Part # | Telephone# | Web Page | Recent Price | Number supplied with system | Cost | Details
Box hardware (front panel blank, drawer, handles) | [6 empty] | 85
Swagelok fittings, including manual stainless ball valve | Denver Valve & Fitting | Misc. | 303-232-8844 | http://www.swagelok.com |  |  | 875
Temp/RH sensor w/ 0.3m cable, includes connector | Vaisala, Inc. | HMP50YAB1A1A | 781-933-4500 | http://www.vaisala.com | 300 | 1 | 300
Solenoid valve | ASCO | 8210G034 | 303-316-4616 | http://www.ascovalve.com | 217 | 1 | 217
Solenoid valve | ASCO | 8210G094 | 303-316-4616 | http://www.ascovalve.com | 125 | 1 | 125
Electronically actuated ball valve | Denver Valve & Fitting | SS-63TS12-42AC | 303-232-8844 | http://www.swagelok.com | 746 | 1 | 746
Gelman HEPA filter | VWR Scientific | Gelman Part# 12144, VWR Part# 28145-145 |  | http://www.vwrsp.com | 57 | 1 | 57
Mass flow controller | PSI, Inc. | Brooks Instruments #5851EA14BW2E2BA, with #320B136BMA Process Connectors | 303-789-4449 | http://www.processspecialties.com | 2100 | 1 | 2100
Stainless steel impactors | NOAA/PMEL Instrument Shop |  | 303-497-6210 (J. Ogren) |  | 2125 | 2 | 4250
[6 empty] | Total | 8755

## Spares
Item | Vendor | Catalog # or Part # | Telephone# | Web Page | Recent Price | Number supplied with system | Cost |  | Details
Temp/RH sensor w/ 0.3m cable, includes connector | Vaisala, Inc. | HMP50YAB1A1A | 781-933-4500 | http://www.vaisala.com | 300 | 1 | 300
Temp/RH sensor w/ 3m cable, includes connector | Vaisala, Inc. | HMP50YAC1A1A | 781-933-4500 | http://www.vaisala.com | 310 | 1 | 310
Pump Repair Kit | Fiero Fluid Power | K479A | 800-638-0920 |  | 74 | 1 | 74
Pump Repair Kit | Fiero Fluid Power | K294A | 800-638-0920 |  | 20.2 | 0 | 0 | Do not include in basic system cost
Diaphragm for GAST diaphragm pump | Fiero Fluid Power | AF818B | 800-638-0920 |  | 16 | 0 | 0 | Do not include in basic system cost
CPC Dryer Tube Inserts | PermaPure LLC | MD-110-12E-S | 732-244-0010 | http://www.permapure.com | 72.5 | 2 | 145
[6 empty] | Total | 829

## Consumables
Item | Vendor | Catalog # or Part # | Telephone# | Web Page | Recent Price | Number required per year | Cost | Details
Butanol, 4 liter bottle | Fisher Scientific | A399-1 |  | http://www.fishersci.com | 57.04 | 4 | 228.16
PSAP Filters, 250/pk | VWR Scientific | 21431-350 |  | http://www.vwrsp.com | 44 | 2 | 88
CO2, Size B (half-height) cylinder | Scott Specialty Gases | Instrument Grade, 99.99% | 303-442-4700 | http://www.scottgas.com | 200 | 1 | 200
Silicone Spray | 3M, get from hardware store | 3M I.D.# 62-4678-4930-3 |  | http://www.shop3M.com | 10.44 | 2 | 20.88 | Go to 3M website, type in Product I.D. number
Dow Corning High Vacuum Grease | Fisher Scientific |  |  | http://www.fishersci.com | 38 | 1 | 38
Q-tips | Many vendors |  |  |  | 4 | 1 | 4
PSAP filter bags, 2x3 | Papermart | W1528223 | 323-726-8200 | http://www.papermart.com | 0.0162 | 400 | 6.48
Gelman HEPA filter | VWR Scientific | Gelman Part# 12144, VWR Part# 28145-145 |  | http://www.vwrsp.com | 57 | 2 | 114
Parker filter | Webster Associates, Inc. | IDN-4G X 10 (10 filter pack) | 800-627-4875 | http://www.filternetwork.com | 10 | 2 | 20
Tubing, insulation, tape, etc. | various | [5 empty] | 80
[6 empty] | Total cost of consumables | 799.52

## Labor
NOAA labor - to set up, test, and calibrate the system
Rate | Months | Total
| 1 | 0 | CIRES Scientist Rate (per month, including all benefits and overheads)
| 2 | 0 | Electronics technician, including all benefits and overheads
|  | 0 | Total